## Slide 1: BAS Systems
Joel Seela Alexandria Tech & Community College
Randy Anderson Alexandria Tech & Community College

## Slide 2: Facility diversity - controls
Pneumatic controls
Stand alone packaged
Siemens Apogee – Not supported
Automated Logic
  BACNet

## Slide 3: Thoughts on vendors
Own software- No license fees
Multi user simultaneous – no extra fees
Unlimited windows open
Trends stored on server, not on controllers
  No limits by controller memory or version

## Slide 4: BAS Navigation
Graphical
Tree-based

## Slide 5: Low/High room temperature
Look at building/area lay out – Is it isolated location(small group of rooms) or a larger area (floor or building)?

## Slide 8: A larger area (floor or building)?

## Slide 9: Small group of rooms

## Slide 10
  Look at VAV – Is it isolated location?
    Flow air or Water, discharge temp, T-stat
      Control valve stuck?
      Actuator stuck
    AHU Discharge temp, flow
      Coil valves, dampers, RAT

## Slide 11: Boiler cycling
Monitor operating graphs
Look at outside air reset
Supply and return temps
Pump speed

## Slide 12: Boiler cycling switched to oil & lost BAS

## Slide 14: Hot water heater Replacement
Reason’s for changing to plate heat exchangers

## Slide 15: AHU Issue

## Slide 19: Schedules
Review scheduling and how it save energy and occ. Setback.

## Slide 21: Questions?